Results

VanLang InSilico Pipeline: Virtual Screening for Organic Dialdehyde Candidates as Formalin Alternatives in IHC-Compatible Tissue Fixation

Department of Medical Laboratory Technology  ·  Van Lang University  ·  Ho Chi Minh City, Vietnam  ·  2025

## Table 1.  Compound Screening Funnel (NB1)

Of 1,007 CIDs retrieved from PubChem by Tanimoto similarity search (threshold ≥ 70%, nine seed dialdehyde compounds) and keyword query, 154 single-molecule compounds passed all twelve sequential chemical and ADMET filters. The dominant attrition steps were LogP > 1.0 (−297 compounds) and fewer than two electrophile groups (−293 compounds). PAINS catalogs A/B/C were applied; the Brenk catalog was excluded as it flags aldehyde groups by design and would non-selectively eliminate the compound class of interest.

| Filter step | Criterion | n remaining | n removed |
| --- | --- | --- | --- |
| Raw PubChem query | Tanimoto ≥ 70% (9 seeds) + keyword | 1,007 | — |
| F1: MW ≤ 200 Da | Small molecule; tissue-diffusible | 877 | 130 |
| F2: LogP ≤ 1.0 | Water-soluble fixative | 580 | 297 |
| F3: ≥ 2 electrophile groups | Bifunctional crosslinker | 287 | 293 |
| F4: No enone / acrolein | Exclude Michael acceptors | 285 | 2 |
| F5: No epoxide / peroxide / nitroso | Dangerous reactive groups | 281 | 4 |
| F6: No PAINS (A/B/C) | Pan-assay interference filter | 248 | 33 |
| FA0: No organometallic | Biological compatibility | 217 | 31 |
| FA0b: No isotope / radical | Stable structure only | 209 | 8 |
| FA1: No mutagenic alerts | OECD 471 structural proxy | 193 | 16 |
| FA2: MW ≥ 60 Da | Low volatility | 191 | 2 |
| Dedup + mixture exclusion | Unique single-molecule only | 154 | 37 |

Category distribution: dialdehyde aliphatic 75.4% (n=116); fluoro-dialdehyde 17.3% (n=27); cyclic 7.3% (n=11). Median MW 114.1 Da [IQR 100.1–130.1]; median LogP 0.14 [IQR −0.41–0.55].

## Table 2.  NB2 Reactivity Scoring — Reference Validation and Top 30 Selection

TorchANI ANI-2x geometry optimisation was performed on NVIDIA Tesla T4 GPU (2.0 s per compound), with successful optimisation for 147 of 154 compounds (95.5%); seven compounds containing bromine or iodine fell back to Gasteiger-only scoring. Gasteiger partial charges were computed on ANI-2x-optimised geometries. Glutaraldehyde scored 84.46 — the highest among reference compounds — confirming directional validity of the protocol.

| Type | Compound / CID | SMILES | MW | Elec proxy | NB2 score |
| --- | --- | --- | --- | --- | --- |
| Reference | Formalin | C=O | 30.0 | 10.64 | 67.49 |
| Reference | Glutaraldehyde | O=CCCCC=O | 100.1 | 11.95 | 84.46 |
| Reference | Succinaldehyde | O=CCCC=O | 86.1 | 11.99 | 84.27 |
| Reference | Glyoxal | O=CC=O | 58.0 | 18.20 | 53.53 |
| #1 | CID 70620 | O=CCCCCC=O | 114.1 | 11.95 | 84.46 |
| #4 | CID 87944034 | O=CCCC#CCCC=O | 138.2 | 12.04 | 84.05 |
| #6 | CID 101171 | CC(C=O)CCC=O | 114.1 | 12.09 | 83.85 |
| #7 | CID 91427 | CCC(C=O)CC=O | 114.1 | 12.16 | 83.57 |
| #9 | CID 80473 | CC(CC=O)CC=O | 114.1 | 11.98 | 84.34 |

Full top-30 list available in NB2_scored_v2.csv. Selected rows shown above for illustration; blue rows are candidates that appear in the Grand Final top 10.

## Table 3.  Molecular Docking — Candidates and Reference Compounds (NB3)

AutoDock Vina 1.2.7 was used to dock all 30 candidates and the three dockable reference compounds against HER2 and PD-L1. All 30/30 runs converged. Binding affinities represent relative surface-proximity indices at the lysine NZ region; formaldehyde was not docked owing to its single-carbon character and predicted non-productive surface interaction at the grid dimensions used.

| Type | Compound / CID | SMILES | HER2 | PDL1 | Mean (kcal/mol) |
| --- | --- | --- | --- | --- | --- |
| Reference | Glutaraldehyde | O=CCCCC=O | −3.06 | −3.21 | −3.14 |
| Reference | Succinaldehyde | O=CCCC=O | −2.85 | −2.62 | −2.74 |
| Reference | Glyoxal | O=CC=O | −2.07 | −1.99 | −2.03 |
| #1 (Grand) | CID 87944034 | O=CCCC#CCCC=O | −4.15 | −4.28 | −4.21 |
| #2 | CID 91427 | CCC(C=O)CC=O | −3.66 | −3.76 | −3.71 |
| #3 | CID 85655730 | O=CCCC(=O)CCC=O | −3.70 | −3.62 | −3.66 |
| #5 | CID 12484446 | CCOC(CC=O)CC=O | −3.86 | −3.61 | −3.74 |
| #8 | CID 101171 | CC(C=O)CCC=O | −3.38 | −3.49 | −3.44 |
| #10 | CID 70620 | O=CCCCCC=O | −3.37 | −3.40 | −3.39 |

## Table 4.  Tissue Feasibility — Candidates and Reference Compounds (NB5)

Three feasibility modules applied uniformly to candidates and references. Penetration rate modelled via Wilke-Chang framework calibrated against glutaraldehyde literature value (0.36–0.40 mm/h; model: 0.365 mm/h). CAP thresholds: Excellent ≥ 0.417 mm/h, Good ≥ 0.208 mm/h, Minimum ≥ 0.104 mm/h. Fixation kinetics (k_vs_glut) and stability are directional indicators; see README Section 6 for declared limitations.

| Type | Compound / CID | MW | Pen rate (mm/h) | CAP | k vs glut. | Stability | NB5 score |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ref | Formalin | 30.0 | 0.805 | Excellent | 0.543 | 41.3 | 58.28 |
| Ref | Glyoxal | 58.0 | 0.470 | Excellent | 2.713 | 45.0 | 64.45 |
| Ref | Succinaldehyde | 86.1 | 0.369 | Good | 1.008 | 42.5 | 47.79 |
| Ref | Glutaraldehyde | 100.1 | 0.365 | Good | 1.000 | 44.0 | 47.91 |
| Cand | CID 87944034 | 138.2 | 0.324 | Good | 1.019 | 46.5 | 47.18 |
| Cand | CID 91427 | 114.1 | 0.354 | Good | 1.043 | 51.1 | 50.33 |
| Cand | CID 85655730 | 142.2 | 0.263 | Good | 1.351 | 43.7 | 49.74 |
| Cand | CID 10953466 | 114.1 | 0.363 | Good | 1.104 | 51.1 | 51.89 |
| Cand | CID 12484446 | 144.2 | 0.278 | Good | 1.054 | 46.8 | 45.83 |
| Cand | CID 21190979 | 114.1 | 0.354 | Good | 1.073 | 51.1 | 50.88 |
| Cand | CID 22174207 | 142.2 | 0.256 | Good | 1.260 | 43.7 | 47.72 |
| Cand | CID 101171 | 114.1 | 0.354 | Good | 1.029 | 51.1 | 50.07 |
| Cand | CID 80473 | 114.1 | 0.354 | Good | 1.005 | 45.1 | 47.84 |
| Cand | CID 70620 | 114.1 | 0.363 | Good | 1.000 | 45.1 | 48.16 |

## Table 5.  Grand Final Unified Ranking — 10 Candidates and 4 Reference Compounds

Grand Score = Docking × 0.58 + NB5 × 0.34 + NB2 × 0.08. Weights derived from CV discriminative power analysis (NB6): Docking CV=6.7%, NB5 CV=3.9%, NB2 CV=0.9%. CV rank order (Docking > NB5 > NB2) is consistent with mechanistic priority (Step 1 spatial constraint > clinical feasibility > chemical reactivity). All 10 candidate compounds ranked above all 4 reference fixatives. Formalin Grand Score computed from NB5 and NB2 only (no docking performed). Amber rows = reference compounds.

| Rank | Compound / CID | NB2 | Docking mean (kcal/mol) | NB5 | Grand Score | vs Glutaraldehyde | Type |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CID 87944034 | 84.05 | −4.214 | 47.18 | 47.21 | +5.98 | Candidate |
| 2 | CID 91427 | 83.57 | −3.710 | 50.33 | 45.32 | +4.09 | Candidate |
| 3 | CID 85655730 | 82.39 | −3.658 | 49.74 | 44.72 | +3.49 | Candidate |
| 4 | CID 10953466 | 82.37 | −3.482 | 51.89 | 44.43 | +3.20 | Candidate |
| 5 | CID 12484446 | 83.36 | −3.735 | 45.83 | 43.91 | +2.68 | Candidate |
| 6 | CID 21190979 | 82.98 | −3.433 | 50.88 | 43.85 | +2.62 | Candidate |
| 7 | CID 22174207 | 83.86 | −3.593 | 47.72 | 43.77 | +2.54 | Candidate |
| 8 | CID 101171 | 83.85 | −3.436 | 50.07 | 43.66 | +2.43 | Candidate |
| 9 | CID 80473 | 84.34 | −3.531 | 47.84 | 43.49 | +2.26 | Candidate |
| 10 | CID 70620 | 84.46 | −3.387 | 48.16 | 42.78 | +1.55 | Candidate |
| 11 | Glutaraldehyde | 84.46 | −3.135 | 47.91 | 41.23 | — | Reference |
| 12 | Succinaldehyde | 84.27 | −2.735 | 47.79 | 38.85 | −2.38 | Reference |
| 13 | Glyoxal | 53.53 | −2.030 | 64.45 | 37.97 | −3.26 | Reference |
| 14 | Formalin | 67.49 | N/A | 58.28 | 25.21 | −16.02 | Reference |

Succinaldehyde (rank 12; Grand Score 38.85) is recommended as the first wet laboratory candidate despite its position, owing to commercial availability, lowest MW in the dialdehyde class (86.1 Da; predicted penetration 0.369 mm/h), and published IHC compatibility data (Richter et al., 2018; Criswell et al., 2022). CID 70620 (hexanedial; rank 10) is the highest-ranked candidate with confirmed commercial availability (Sigma-Aldrich).

## Table 6.  Weight Sensitivity Analysis Summary (NB6)

To validate that the Grand Score weights are not arbitrary, two analyses were performed: (1) CV-based discriminative power showing that Docking has highest variation among candidates (CV=6.7%), directly justifying its highest weight; (2) robustness test across 129 weight combinations confirming that candidate superiority over glutaraldehyde is maintained in 71–100% of scenarios regardless of exact weight choice.

| Metric | Value | Interpretation |
| --- | --- | --- |
| Weight combinations tested | 129 | Each component 10–75%, step 5% |
| Docking discriminative power (CV) | 6.7% | Highest → weight 0.58 justified |
| NB5 discriminative power (CV) | 3.9% | Second → weight 0.34 justified |
| NB2 discriminative power (CV) | 0.9% | Lowest → weight 0.08 justified |
| CV rank order | Docking > NB5 > NB2 | Consistent with mechanistic priority ✅ |
| Top-1 rank stable | 71.3% of scenarios | Moderate — CID 87944034 dominates docking-heavy scenarios |
| Top-3 set stable | 21.7% of scenarios | Low — precise ordering is weight-sensitive; treat as directional |
| Mean Spearman ρ | 0.785 | Moderate overall rank correlation with baseline |
| Candidates above Glutaraldehyde | 71–100% of scenarios | PRIMARY ROBUST FINDING |

Van Lang University  ·  2025  ·  All findings are in silico predictions requiring experimental validation.